SITUATION OF HEALTHCARE WASTE MANAGEMENT IN NEPAL AND AN EFFORT FOR IMPROVEMENT AT RESOURCE POOR SETTINGS:

JAYENDRA BHATTA

Programme Officer/Engineer, GTZ-Health Sector Support Programme/Physical Assets Management, Kathmandu, Nepal

Jayendra Bhatta graduated in B.Sc. Engineering from Patna University India in 1994 and graduated in M.Sc. in construction management from Pokhara University Nepal in 2001. After working in many different health and educational infrastructure development projects for 7 years he joined GTZ-HSSP/PAM in 2001.

He has also completed training modules in Environmental Impact Assessment, Solid waste Management, Clinical Engineering and Healthcare Technology Management, Hospital Administration and Environmental Management.

His long experience in Construction Project Management, Maintenance and Facilities Management around the health and educational facilities has been an inspiration for him to design Healthcare design set which is affordable, sustainable and suitable for the resource poor settings.

Abstract:

Nepal belongs to the category of world's least developed countries. More than 40% of the population are below the poverty line to whom health, hygiene and environment are not of priority. In other hand the Government's commitment for providing curative and preventive health services is an example as its public healthcare infrastructure is very much developed in terms of coverage. However, in actual healthcare delivery much has to be done yet, along with many other requirements lack of proper facility management system is one that needs immediate attention.

Healthcare waste management system is poorly addressed despite of knowledge of hazards attached to it. Some health institutions have tried to manage their solid waste by applying advanced exported technology that could not remained functional for long due to high running cost, lack of spare parts and skilled manpower. Many other institutions are managing their solid waste by adopting poor method using earthen trenches in unsafe sites, burning in low temperature incinerators and further on many institutions were found dumping the waste in nearby ponds, rivers, corners of hospital buildings or anywhere around the premises. For many public and private institutions in urban areas the common practice is to use the municipal waste container without any pre treatment. Liquid wastes including hazardous chemicals and lab wastes have not been addressed in almost all the institutions. An attempt was made to address solid waste as a pilot research study.

The Government has yet not developed its policy guidelines on healthcare waste management, therefore, even the recently constructed health facilities lacks waste management system of any kind. The writer of this paper has developed a healthcare design set for a complete management of healthcare waste. This is a complete "set" of five different components to dispose solid, liquid and lab wastes. The designed set is considered to be affordable and sustainable for the resource poor settings like Nepal. This set has adopted mid level technology for the waste disposal in much safer ways.

GTZ - Health Sector Support Programme / Physical Assets Management (GTZ-HSSP/PAM) is assisting the Government of Nepal in facility management areas. In terms of assisting the Government, healthcare waste management is a priority Programme for the GTZ-HSSP/PAM from its new phase. The healthcare design set was reviewed by international/national experts and is being implemented by GTZ-HSSP/PAM in its Programme districts. External Development Partners (EDP) in the country have shown interest to this design set and the incinerator part of the set has been installed successfully in few facilities. This set is found to be very suitable in solving healthcare waste problems in most of the health facilities in sustainable and affordable ways.

Nepal Brief:

Nepal is a small landlocked country situated between two large countries India (south, east and waste) and China (North). It has more than 23 Million populations with annual growth rate of 2.2. Among this 88% of the population live in rural areas and only 12% are in urban and per capita income is US$ 190. Adult literacy rate is 50.70 (female 35.4, male 65.8). The total area of the country is 147,181 Sq. Km.

Health System of Nepal:

National Health Policy is in practice since 1991 with primary objective to extend the primary healthcare system to the rural population so that they benefit from modern medical facilities and trained healthcare providers. Ministry of Health of Nepal has developed a 20 years Second Long Term Health Plan (SLTHP) for 1997-2017. The SLTHP vision is a healthcare system with equitable access and quality services in both rural and urban areas. The focus would be on sustainability, community participation, decentralisation, gender sensitivity, effective and efficient management, and private and NGO participation.

Current Health Service Facilities:

Total number of Health facilities including bed numbers and average bed occupancy rate is shown in the following table.

Table no. 1: Current Health Service Facilities (Public and Private)

| Type of Facility: | Number | Total Beds | % Occupancy |
| --- | --- | --- | --- |
| Public Sector |  |  |  |
| Long-stay specially Hospitals | 5 | 275 | 95 |
| Regional/Central/Teaching Hospitals | 10 | 1860 | 95 |
| Zonal Hospital | 10 | 720 | 70 |
| District Hospital | 64 | 1030 | 60 |
| Health Centres with beds | 191 | 573 | 10 |
| Health Posts | 701 | - | - |
| Sub Health Posts | 3159 | - | - |
| PHC out reach clinics | 13700 | - | - |
| TOTAL | 17840 | 4458 | 72 |
| Private Sector Specialist/NGO/Mission | 123 | 3804 | 50 |
| Health Sector TOTAL | 17963 | 8262 | - |

Source: Nepal Strategic Plan for Human Resource for Health 2003 to 2017, MoH, Nepal -2003

Bed occupancy rate for specialty hospitals, central/regional/zonal hospitals is quite high covering 64% of total available beds. In terms of hospital care, private sector alone covers 41% of the total beds in Nepalese hospitals. The key characteristics of health service facilities are listed as below:

Table no. 2: The key Characteristics of Health Service Facilities

Total number of public sector beds 4,458 Ratio of public sector acute hospital beds to population 1 to 5,435 Total acute hospital beds (Public & Private) to population 1 to 2,933 Overall occupancy rates for public sector hospitals and health centres 72% Ratio of tertiary hospitals to general hospital beds 0.44 Primary healthcare facilities to population 1 to 5,981

Source: Nepal Strategic Plan for Human Resource for Health 2003 to 2017, MoH, Nepal -2003

All health institutions of public sector are under the umbrella of Ministry of Health (MoH). MoH is responsible for providing basic healthcare services. For this purpose the Ministry has established a system with small and large healthcare facilities all over the country administrated by the Department of Health Services (DHS).

Organisational Structure of the Department of Health Services under the Ministry of Health is followed in the next page.

Abbreviation used in the organisational structure:

CHD	Child Health Division

EDCD	Epidemiology and Disease Control Division

EPI	Expanded Programme on Immunisation

FCHV	Female Community Health Volunteer

FHD	Family Health Division

HIMDD	Health Institution and Manpower Development Division

LCD	Leprosy Control Division

LMD	Logistics Management Division

NCASC	National Centre for AIDS and STD Control

NHEICC	National Health Education, Information and Communication Centre

NHTC	National Health Training Centre

NPHL	National Public Health Laboratory

NTC	National Tuberculosis Centre

PFAD	Planning and Foreign Aid Division

PHC	Primary Healthcare Centre

TBA	Trained Birth Attendant

Organisational Structure of the Department of Health Services

CENTRAL

LEVEL

--------------------------------------------------------------------------------------------------------------------------------------------------

REGIONAL

LEVEL (5)

--------------------------------------------------------------------------------------------------------------------------------------------------

ZONAL

LEVEL

--------------------------------------------------------------------------------------------------------------------------------------------------

DISTRICT

LEVEL

--------------------------------------------------------------------------------------------------------------------------------------------------

ELECTORAL

CONSTITUENCY

--------------------------------------------------------------------------------------------------------------------------------------------------

ILAKA LEVEL

--------------------------------------------------------------------------------------------------------------------------------------------------

VDC LEVEL

--------------------------------------------------------------------------------------------------------------------------------------------------

COMMUNITY LEVEL

Source: Annual Report of DHS, 2000-2001

There is not any specific department or centre to look after Healthcare waste management. HIMDD recently renamed as Management Division is responsible for Infrastructure development and LMD is responsible for equipment management and healthcare waste management. Similarly, in the government system no trained or qualified human resource is available for Healthcare waste management. All responsibility goes to the hospital sweepers for Healthcare waste disposal. The table below shows the available human resource working in the health sector.

Table no. 3: Human resource for health: Base Year 2003

| Occupation | Supply in 2003 | Public | Private | Population per worker |
| --- | --- | --- | --- | --- |
| Medical specialist Medical officer Integrated medical officer Dental surgeon/dentist Pharmacist Asst. Pharmacist Nurse(certificate) ANM Graduate nurse Medical Technologist Lab technician/Assist. Radiographer Asst. Radiographer VHW/MCHW AAW/AHW Health Asst./Kaviraj/Hakim Allied health occup. Allied non-med. Prof. Skilled support staff Other support staff Totals | 1,544 1,186 30 236 38 69 1,585 1,820 264 42 543 48 158 5,221 4,334 1,558 556 594 2,384 12,462 34,912 | 363 753 29 37 14 40 967 1,358 193 35 353 14 61 5,132 4,231 1,397 358 414 1,367 9,362 26,716 | 1,181 433 1 199 24 29 618 462 71 7 190 34 97 89 103 161 198 180 1,100 3,100 8,196 | 14,994 19,521 771,714 98,099 609,248 335,528 14,607 12,721 87,695 551,224 42,636 482,321 146,528 4,434 5,342 14,860 41,639 38,9755 9,711 1,858 694 |

Source: Human Resource Development and Information System (HuRDIS), MoH Nepal

Legal provision for Healthcare waste management: In Nepal, there are no healthcare waste management specific policies, legislation, guidelines or standards available. However, there are some policies and acts related to municipal waste management and hazardous waste management. The summary of such policies, acts and guidelines are given in the table no. 4. Ministry of Population and Environment (MoPE) is concerned authority for environmental management and monitoring. Since the ministry is newly established, it has very less experience and limited resource.

Table no. 4: Legal Instrument related to Environment and Waste Management

| Legal Instruments | Provision/concern | Concerned Ministry | Status |
| --- | --- | --- | --- |
| The constitution of Kingdom of Nepal. Environmental Protection act 1996 and Environmental Protection Regulation 1997 Solid waste management and resource mobilisation Act,1987 The local self governance Act, 1999 Industrial Enterprises Act, 1992 Healthcare Technology Policy Obligatory waste management plans for healthcare facilities (legal document) Logistic management strategy | Article 26 (4) mandates for environmental protection For Healthcare waste treatment of any type and to establish HCF with more than 25 beds need IEE/EIA Municipal solid waste management Management of municipal solid waste at local level. Public health Environmental Impact due to industrial activities. Healthcare technology management HCR waste management Among 7 objectives one is healthcare waste management | Ministry of Population and Environment(MoPE) MoPE and MoH Ministry of local development (MoLD) MoLD MoPE/ Ministry of Commerce & Industry MoH MoH MoH | In practice Principally in practice In practice In practice Industrial waste water standards are available HCT policy document is available and waiting for approval Legal document is prepared and waiting for parliament approval Planning for implementation |

Source: EPA 1996, EPR1997, SWMRMC, Local Self-Governance Act 1999, IEA 1992, HCT Policy Document

Municipal Waste Management in Nepal: Organisational effort for solid waste management in Nepal was started in 1981 first time by establishing solid waste management project in Kathmandu with GTZ support. The first sanitary landfill site was operated in 1986, however the site is now no more in operation due to public protest. Currently all types of municipal waste of the valley including hazardous wastes is being dumped along the riverbanks of Bagmati river (a holy river for Hindu). The following table gives key information on waste management system of Kathmandu Metropolitan City office.

Table no. 5: Waste Management of Kathmandu city:

Population of Kathmandu Metropolitan & Lalitpur sub-metropolitan: 987,976 Population growth rate: 6% Total generation: 0.4Kg/p/day(1 l/p/d) Total domestic waste generation: 750m3/day Other (healthcare and industrial): 225 m3/day Total waste generation: 975m3/day Collection approx.: 862m3/day Efficiency: 88% Expenses(% of total municipal budget): 40%

Source: Rajesh / Kathmandu metropolitan city office, June 2003

Ministry of Local Development is developing another sanitary landfill site located at 22kms away from the city centre outside the Kathmandu valley. The Ministry of Population and Environment (MoPE) has approved the Environmental Impact Assessment report to operate new landfill site for Kathmandu valley waste management that proposed by the Ministry of Local Development (MoLD). However the municipality is not agreed with this proposed site because of long distance and high transportation and operational cost. This is an example of lack of co-ordination between the concerned stakeholders. Regarding the healthcare waste management this proposed site would prohibit for healthcare risk waste disposal. All public central hospitals, most of the specialty hospitals, Teaching hospitals and Private hospitals lie in this municipality. Since the municipality is dumping the collected waste along the riverbanks that includes healthcare waste from more than 80% of healthcare facilities, it poses a serious impact on overall environment. Almost all other municipalities of the country, 56 in number are managing their waste locally without any planned landfill sites.

The major cause for this situation is political instability and lack of strong commitment from political parties. In Nepal, waste management is a political issue for the leaders during the election to get votes. In addition, the co-ordination mechanism of public participation for waste management is very poor in Nepal. Waste segregation, waste reduction, reuse and recycle concept is not in practice. Private public participation for waste management could be a tool for this purpose but no efforts from the government are made to encourage this sector.

Current situations of Healthcare Waste Management in Nepalese Health Facilities:

Healthcare waste management system is found poorly addressed despite of knowledge on hazards attached to it.  In recent days management of Healthcare waste has become even more challenging due to the growing use of disposable needles, syringes, saline bottles and similar items. Similarly expanded immunisation Programme of the government is increasing the waste volume significantly. Likewise increasing number of HIV/AIDS infected people in the country and injecting drug users is making Healthcare waste management more an urgent issue to deal.

In 2001 and 2002 the author had conducted a situation analysis survey covering 346 Health facilities of different levels varying from central to the grass root level. These health facilities cover all the geographical and all five-development regions. Information was collected by site visit and interview. The summary of the study is given in the following table no. 6:

Table no. 6: Current Practice of Waste Disposal System in Nepalese Health Facilities:

| Health Facilities | No. | Incinera-tor in function | Waste pit | Open dumping & burning | Using municipal waste container | Waste segre-gation system | Injury by HCRW to health staff/HCF/Year | Know-ledge of legal respon-sibility |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Central/Regional/Teaching Hospital and Specialty Hospital | 30 | 7 (23%) | 3 (10%) | 9 (30%) | 18 (60%) | 2 (6%) | 20-30 | 2 (6%) |
| District Hospital | 33 | 3 (9%) | 2 (6%) | 29 (89%) | 2 (6%) | 1 (3%) | 10-15 | 0% |
| Primary Healthcare Centre (PHC) | 52 | 2 (4%) | 5 (10%) | 45 (86%) | x | 3 (6%) | 8-10 | 0% |
| Health Post | 86 | 12 (14%) | 18 (21%) | 56 (65%) | x | X | 4-5 | 0% |
| Sub Health Post | 145 | 3 (2%) | 41 (28%) | 101 (70%) | x | X | 2-3 | 0% |
| Total | 346 | 27 (8%) | 72 (21%) | 240 (69%) | 20 (6%) | 6 (2%) | 9-13 | 0.6% |

This study clearly shows three different scenarios in the use of technology and management practice. The first one is almost all health facilities were found focussing only on solid waste management mostly by method of incineration. Many different types of incineration system were installed at different point of times. 70% percent of the incinerators were found not working properly as planned due to the lack of skilled man power, spare parts, high fuel consumption, cultural and public objection and lack of management commitment. The table given below shows the situation of health facilities those have the incineration facilities.

Table no. 7: Health Facilities using Incinerator:

| Visited Health facilities with incinerator | No. | Function | Not Function | Reasons |
| --- | --- | --- | --- | --- |
| Central level/regional/zonal and teaching HCF District hospitals Primary Health Centres Health posts Sub Health posts Total | 27 8 13 32 11 91 | 7 3 2 12 3 27 (30%) | 20 5 11 20 8 64 (70%) | -High fuel consumption, lack of spare parts, public protest. -Maintenance and management problem Lack of resources, knowledge, management commitment and Cultural issue - Same as above |

Similarly, the second scenario is most of the health facilities mainly district and below level, have adopted very poor method of waste disposal such as drum incinerator, pit burning, earthen pit disposal, open dumping and burning. Many health facilities are dumping or throwing waste on the back yard, ditches, ponds, rivers or on the open field. The third scenario is use of municipal waste container. About 60% of the big hospitals in different parts of the country are using municipal waste disposal system for final disposal of the Healthcare waste. A recent study done by National Dental Hospital in Kathmandu revealed that 88% of city healthcare facilities are using municipal waste container for their infectious waste disposal and 100% of health facilities are not aware of their legal responsibilities towards the healthcare waste they produce. The municipalities are dumping the collected waste very unsafe manner along river banks or open dumping places because the municipalities have no any sanitary landfill sites in the country and nor any treatment facilities available.

The situation analysis revealed that the Healthcare waste management in Nepalese healthcare facilities is a neglected area that needs an urgent attention. Healthcare waste is creating nuisance around the facilities and adverse effect on the health and environment. Availability of the resources and technology were not the major problem but overall management of the system was lacking. Issues around the poor healthcare waste management were like, lack of adequate plans, policies, and strategies at national level and at the facility level commitment from the facility management team to have waste disposal system in place.

To improve the situation institutionalisation of waste management system as well as training on healthcare waste focusing on waste reduce, reuse, recovery, recycle and segregation system at operational level is essential. At the same time, introducing and establishment of economical, sustainable, environment friendly waste disposal system that covers the whole healthcare waste i.e. solid and liquid waste is required.

Quantity Estimate of Healthcare Waste in Nepalese Health Facilities:

Different survey and research done at different point of time in various Healthcare facilities by different organisations and individuals shows the quantity of infectious Healthcare waste varies from 0.1 to 0.48 kg/bed/day. This difference may be due to very weak mechanism of waste segregation. Here, for Healthcare risk waste quantity calculation, 0.1 kg/bed/day and bed occupancy rates of 61% are taken as reference data. The amount of total HCRW generation is given in the following table:

Table no. 8: Healthcare Risk Waste Quantity Calculation

| Type of HC facility and services | No. | HCRW generation | Total Quantity of HCRW, kg/day | Assumptions |
| --- | --- | --- | --- | --- |
| Public and private hospitals (occupied beds) | 5040 | 0.1 kg/b/day | 504 | Bed occupancy rate 61% (average of public and private) |
| OPD visits (Gov. HCF) in 2001 | 7,846,667 | 0.02 kg/p/visit | 430 | Lab and emergency services generates 0.02kg/p/visit |
| OPD visits (private HCF) | 6,695,040 | 0.02 kg/p/visit | 367 | Per bed patient flow for OPD service = 1760 (derived from Gov. HCF per bed patient flow. |
| Sub total |  |  | 1301 |  |
| Health Post and sub health post (total in number) | 3860(701+3159) | 0.5 kg/HCF/day | 1930 | For HP and SHP average HCRW is 0.5kg/HCF/day |
| PHC outreach clinic | 13700 | 0.5 kg/HCF/day | 225 | PHC outreach clinics runs once in a month in place. |
| Health laboratories & private clinics | 225 (75x3) | 0.5 kg/c/day | 125 | 3 in district in average |
| Sub total |  |  | 2280 |  |
| Total HCRW kg /day |  |  | 3581 |  |

Source: Annual report of Department of Health Services 2000-2001 (for HCF and beds only)

Looking at the Health facilities waste disposal needs GTZ-HSSP/PAM has started a special Programme for HC waste management in its Programme districts in Nepal. GTZ-HSSP/PAM is an external development partner for MoH in Nepal and working in the area of health facility management. In terms of assisting the Government HC waste management is a priority Programme for PAM. The writer of this paper has designed a HC design set to manage healthcare waste both solid and liquid in sustainable and affordable way. This set was reviewed by international/national experts and the set is found quite suitable for resource poor settings. Till date incinerator part of this set has been installed successfully in few health facilities and is operating for testing purpose. This HC set consists of the following components:

- Healthcare Incinerator with an autoclave, a smoke filter water jacket and attached waste pit: This incinerator is designed to burn only plastic free infectious and general solid waste and sharps. The capacity of the set can be vary as per the need. The attached autoclave and water jacket is to sterilise the infectious plastic waste and to filter the smoke before passing through the stag so that it produces the white smoke only. Attached waste pit is for disposing the burnt residue and placenta from the delivery room. This Incinerator is a component of the whole set and now in operation only for testing proposes.

- Simsar Ponds: These ponds are basically based on the concept of constructed wet land. Among the two ponds one is vertical flow bed and another horizontal flow bed to treat healthcare liquid waste except lab chemicals. The size of both beds can also vary as per site condition and quantity of liquid waste. This wastewater treatment plant can also be constructed in circular shape so that it occupies less ground area.

- Compost Box: This is designed for biodegradable waste from healthcare facilities. This double-roomed compost box can be used for hospital staff quarter also. Healthcare risk waste is prohibited for this compost box.

- Lab Waste Treatment Pit: This is simple, leak-proof underground pit for lab wastewater collection and treatment. After treating the liquid waste in this pit, it can be disposed off in safe area.

- Store for Plastics and bottles: This store is designed to transmit the message that Healthcare waste can be a valuable resource. Recycle plastic and all type of glass bottles have resale value in local market and in India. This helps to minimise the environmental impact by burning the plastic and also helps to generate income for healthcare facilities.

Cost calculation:

Total cost for installation, treatment and operation for district level healthcare facilities is summarised in the following table. The cost calculation is based on the local market price and it includes salary of only one local trained operator. On the basis of unit cost for one Health facility, an attempt has made to estimate the total cost required for all health facilities in Nepal (table no. 9).

Table no. 9: Cost summary sheet for Healthcare Waste Management (HC Design Set):

| Description | Unit | Rate(US$) | Quantity | Amount (US$) | Remarks |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | Establish-ment Cost | Mgmt. & Operational Cost |  |
| Installation of the complete set | No. | 7,000 | 1 | 7,000 |  |  |
| Waste management equipment and safety tools | Set | 300 | 1 |  | 300 |  |
| Waste management training | Package |  |  |  | 250 |  |
| Operation cost including maintenance and salary for one operator /Year | No. |  |  |  | 600 |  |
| Total cost for first year/ HCF |  |  |  | 7,000 | 1150 | 8850/HCF |
| Total cost for all types of bedded HCF (public & private) complete set | No. |  | 403 | 2,281,000 (403x7,000) | 463,450 (403x1,150) |  |
| Total cost for Health Posts (Incinerator, Waste Pit, Store) | No. | 1,500 | 701 | 1,051,500 (701x1,500) | 210,300 (701x300) |  |
| Total cost for Sub Health Posts (Pit) | No. | 100 | 31,159 | 3,115,900 (31159x100) | 3,115,900 (31,159x100) |  |
| Total Cost |  |  |  | 6,988,400 | 3,789,650 |  |
| Total Cost of HCRW (Establishment and Management & Operation Cost) 10,778,050 |  |
| Total Cost per HCF in 1st year (National Total) |  | 334 | 32263 | 10,778,050 |  |
| Mgmt. & Operational Cost per HCF (National Total) |  | 117 | 32263 | 3,789,650 |  |

# Text boxes

# Ministry of Health

# Department of Health Services

DIVISIONS

PFAD

FHD

CHD

EDCD

LMD

HIMD

LCD

CENTERS

NHTC

NHEICC

NTC

NCASC

NPHL

Central Hospital - 5

Regional Health Services Directorates - 5

Regional Hospital 1

Regional Laboratory 1

Regional Training Centre

Regional Medical Stores 5

Regional TB Centre 1

## Zonal Hospital-10

District Public Health Ofice-14

District Hospital 64

District Health Office 61

# Primary Healthcare Centre Health Centre - 191

## Health Post - 701

Sub Health Post – 3,159

FCHV 47,261

TBA 15,554

PHC Outreach 13700

EPI Outreach 15,201

22”

Section of HC incinerator + waste pit

ASH DROPING SHUTTER

PORFORTED SHEET (MESH)

SMOKE BURNING CHAMBWR

WASTE BURNING CHAMBER

9”

5”

2’ 0”

1’ 6”

9”

7’ 0”

9”

9”

8’ 6”

R.C.C. FOOT STEPS

SMOKE OUTLET CHAMBER

AIR INLET PIPES (1” Ø 0-3NOS)

DRY WASTE BURNING CHAMBER

ASH COLLECTION CHAMBER

WET WASTE

4.5” HT BRICK WALL

3" AIR GAP

FUEL TANK TO INJECT THE FUEL

9 " BRICK WALL

5” THICK R.C.C. SLAB WITH HT BRICK (3 PIECES)

BOILER AND SMOKE FILTER UNIT

WET WASTE FEEDING DOOR

PROTECTION WALL

METALIC CHIMNEY (HEIGHT AS PER SITE CONDITION)

R.C.C. SLAB REMOVABLE TO CLEAN THE PIT IN LONGRUN

⨪⨪⨪⨪⨪⨪⨪⨪⨪⨪⨪⨪⨪⨪⨪⨪⨪⨪⨪⨪⨪⨪⨪⨪

18”

14”

18”

22”

14”

5”

4”

Plan of store for plastics & bottles

FLAT BRICK SOILING WITH CEMENT POINTING

9”

R.C.C. BAND 4” THICK

COMPACTED EARTH

4”

9”

9”

6’ 8”

Store for plastics & bottles

8’ 8”

4”

9”

5”

14’ 8”

4”

4’ 7”

9”

4’ 0”

4’ 7”

5”

4”

BARBED WIRE @ 9” C/C 14’ 0” × 8’ 0”